## RS0003
RS0003: Fan Assembly
Data Group | Data Element | Value | Units | Required
ASHRAE205 |  |  |  | ✓
| schema_version | 0.1.0 |  | ✓
| RS_ID | RS0003 |  | ✓
| ID | bcf8b859-67a3-42f4-8f8d-4e57af1ccf22 |  | ✓
| data_timestamp | 2019-09-13T00:00Z |  | ✓
| data_version | A205DV-1
| description | Discrete Fan
| data_source | FanSelect
| notes | This is a JSON version of the sample RS0003 file. Speeds 1-4 are Heating, 1st stage, settings (low,mlo,norm,hi). Speeds 5-8 are Heating, 2nd stage, settings (low,mlo,norm,hi), Speeds 9-11 are Cooling, settings (low,norm,hi).
ASHRAE205.RS_instance |  |  |  | ✓
ASHRAE205.RS_instance.RS0003
ASHRAE205.RS_instance.RS0003.description
ASHRAE205.RS_instance.RS0003.description.product_information
| manufacturer | XYZFurnace Co |  | ✓
| model_number | F060 |  | ✓
| has_motor | TRUE |  | ✓
| enclosed | TRUE |  | ✓
| impeller_type | CENTRIFIGUL_FORWARD_CURVED
| direct_drive_impeller | TRUE
| number_of_impellers | 1
ASHRAE205.RS_instance.RS0003.description.assembly_components |  | $assembly_components
ASHRAE205.RS_instance.RS0003.performance |  |  |  | ✓
| nominal_volumetric_air_flow_rate | 0.366 | m3/s | ✓
| wet_coil_pressure_drop | 24.8 | Pa | ✓
| motor_heat_fraction | 1 | - | ✓
| standby_power | 8 | W | ✓
| fan_operation_type | DISCRETE |  | ✓
ASHRAE205.RS_instance.RS0003.performance.performance_map |  | $performance_map |  | ✓

## assembly_components
ASHRAE205.RS_instance.RS0003.description.assembly_components.component_type
component_type | component_description
FURNACE | Furnance HX
FILTER | Filter Section

## performance_map
ASHRAE205.RS_instance.RS0003.performance.performance_map.grid_variables
grid_variables |  | lookup_variables
speed_number | static_pressure_difference | volumetric_air_flow_rate | input_power
- | Pa | m3/s | W
1 | 25
1 | 75
1 | 120
1 | 170
1 | 220
2 | 25
2 | 75
2 | 120
2 | 170
2 | 220
3 | 25
3 | 75
3 | 120
3 | 170
3 | 220
4 | 25
4 | 75
4 | 120
4 | 170
4 | 220
5 | 25
5 | 75
5 | 120
5 | 170
5 | 220
6 | 25
6 | 75
6 | 120
6 | 170
6 | 220
7 | 25
7 | 75
7 | 120
7 | 170
7 | 220
8 | 25
8 | 75
8 | 120
8 | 170
8 | 220
9 | 25
9 | 75
9 | 120
9 | 170
9 | 220
10 | 25
10 | 75
10 | 120
10 | 170
10 | 220
11 | 25
11 | 75
11 | 120
11 | 170
11 | 220