## RS0001
RS0001: Liquid-Cooler Chillers
Data Group | Data Element | Value | Units | Required
ASHRAE205 |  |  |  | ✓
| schema_version | 0.1.0 |  | ✓
| RS_ID | RS0001 |  | ✓
| ID |  |  | ✓
| data_timestamp |  |  | ✓
data_version
description
data_source
disclaimer
notes
ASHRAE205.RS_instance |  |  |  | ✓
ASHRAE205.RS_instance.RS0001
ASHRAE205.RS_instance.RS0001.description
ASHRAE205.RS_instance.RS0001.description.product_information
| manufacturer |  |  | ✓
manufacturer_software_version
| model_number |  |  | ✓
| nominal_voltage |  | V
| nominal_frequency |  | Hz
tolerance_standard
compressor_type
speed_control_type
liquid_data_source
refrigerant_type
hotgas_bypass_installed
ASHRAE205.RS_instance.RS0001.description.rating_AHRI
| certification_reference_number |  |  | ✓
| standard_rating_version |  |  | ✓
| design_net_refrigerating_capacity |  | W | ✓
| design_input_power |  | W | ✓
| design_COP |  | - | ✓
| design_part_load_value |  | - | ✓
| design_evaporator_liquid_volumetric_flow_rate |  | m3/s | ✓
| design_evaporator_liquid_leaving_temperature |  | K | ✓
| design_evaporator_liquid_entering_temperature |  | K | ✓
| design_evaporator_liquid_differential_pressure |  | Pa | ✓
| design_condenser_liquid_volumetric_flow_rate |  | m3/s | ✓
| design_condenser_liquid_entering_temperature |  | K | ✓
| design_condenser_liquid_leaving_temperature |  | K | ✓
| design_condenser_liquid_dfferential_pressure |  | Pa | ✓
| rating_reproducible_from_performance_data |  |  | ✓
ASHRAE205.RS_instance.RS0001.performance |  |  |  | ✓
ASHRAE205.RS_instance.RS0001.performance.evaporator_liquid_type |  |  |  | ✓
ASHRAE205.RS_instance.RS0001.performance.evaporator_liquid_type.liquid_components |  | $liquid_components
concentration_type
ASHRAE205.RS_instance.RS0001.performance.condenser_liquid_type |  |  |  | ✓
ASHRAE205.RS_instance.RS0001.performance.condenser_liquid_type.liquid_components |  | $liquid_components0
concentration_type
| evaporator_fouling_factor |  | m3-K/W | ✓
| condenser_fouling_factor |  | m3-K/W | ✓
| unit_power_limit |  | W
ASHRAE205.RS_instance.RS0001.performance.performance_map_cooling |  | $performance_map_cooling |  | ✓
ASHRAE205.RS_instance.RS0001.performance.performance_map_standby |  | $performance_map_standby |  | ✓

## liquid_components
ASHRAE205.RS_instance.RS0001.performance.evaporator_liquid_type.liquid_components.liquid_constituent
liquid_constituent | concentration

## liquid_components0
ASHRAE205.RS_instance.RS0001.performance.condenser_liquid_type.liquid_components.liquid_constituent
liquid_constituent | concentration

## performance_map_cooling
ASHRAE205.RS_instance.RS0001.performance.performance_map_cooling.grid_variables
grid_variables |  |  |  |  | lookup_variables
evaporator_liquid_volumetric_flow_rate | evaporator_liquid_leaving_temperature | condenser_liquid_volumetric_flow_rate | condenser_liquid_entering_temperature | net_evaporator_capacity_fraction | input_power | net_evaporator_capacity | net_condenser_capacity | evaporator_liquid_entering_temperature | condenser_liquid_leaving_temperature | evaporator_liquid_differential_pressure | condenser_liquid_differential_pressure | oil_cooler_heat | motor_controller_heat
m3/s | K | m3/s | K | - | W | W | W | K | K | Pa | Pa | W | W
[5 empty] | $ | $ | $ | $ | $ | $ | $ | $ | $
[5 empty] | i | n | n | e | c | e | c | o | m
[5 empty] | n | e | e | v | o | v | o | i | o
[5 empty] | p | t | t | a | n | a | n | l | t
[5 empty] | u | _ | _ | p | d | p | d | _ | o
[5 empty] | t | e | c | o | e | o | e | c | r
[5 empty] | _ | v | o | r | n | r | n | o | _
[5 empty] | p | a | n | a | s | a | s | o | c
[5 empty] | o | p | d | t | e | t | e | l | o
[5 empty] | w | o | e | o | r | o | r | e | n
[5 empty] | e | r | n | r | _ | r | _ | r | t
[5 empty] | r | a | s | _ | l | _ | l | _ | r
[6 empty] | t | e | l | i | l | i | h | o
[6 empty] | o | r | i | q | i | q | e | l
[6 empty] | r | _ | q | u | q | u | a | l
[6 empty] | _ | c | u | i | u | i | t | e
[6 empty] | c | a | i | d | i | d |  | r
[6 empty] | a | p | d | _ | d | _ |  | _
[6 empty] | p | a | _ | l | _ | d |  | h
[6 empty] | a | c | e | e | d | i |  | e
[6 empty] | c | i | n | a | i | f |  | a
[6 empty] | i | t | t | v | f | f |  | t
[6 empty] | t | y | e | i | f | e
[6 empty] | y |  | r | n | e | r
[8 empty] | i | g | r | e
[8 empty] | n | _ | e | n
[8 empty] | g | t | n | t
[8 empty] | _ | e | t | i
[8 empty] | t | m | i | a
[8 empty] | e | p | a | l
[8 empty] | m | e | l | _
[8 empty] | p | r | _ | p
[8 empty] | e | a | p | r
[8 empty] | r | t | r | e
[8 empty] | a | u | e | s
[8 empty] | t | r | s | s
[8 empty] | u | e | s | u
[8 empty] | r |  | u | r
[8 empty] | e |  | r | e
e

## performance_map_standby
ASHRAE205.RS_instance.RS0001.performance.performance_map_standby.grid_variables
grid_variables | lookup_variables
chiller_environment_dry_bulb_temperature | input_power
K | W
$
i
n
p
u
t
_
p
o
w
e
r